# IV/Medication Refrigerator Temperature Record

Policy:  Refrigerator and freezer temperatures are to be check and recorded on working days.

Purpose:  To provide a constant temperature for medications in order to provide the highest level of safety for administration of IV medications.

Procedure:

- Refrigerator temperature ranges will be kept between 36 and 46 degrees F/2-8 degrees C.

- Freezer temperature will be maintained at or below 15 degrees F.